## MIRAGE-SamplePrep
MIRAGE MS Guidelines
Guidelines for reporting mass spectrometric analysis data of glycans
Provide the information below. When more than one element has to be reported (e.g. Enzymatic or chemical treatments), please continue in the adjacent columns.
Required fields are marked with an * (If the field is not relevant for the experiment, it can be filled in with a 'NA' -Not applicable).
General features — (a) Global descriptors
* | Date stamp | 2020-04-08
* | Responsible person. Provide name, | JK
* | Affiliation | NA
* | Stable contact information | localhost
1. Sample Origin
Here “sample” is defined as any carbohydrate, polysaccharide, oligosaccharide or glycoconjugate that originates from any given starting material. The starting material may be a compound, mixture or cell product used to produce the oligosaccharide sample of interest. The source and/or methods used to produce the starting sample material can vary considerably but minimum information that describes its origin is outlined.
* | General Information | Lorem ipsum
1.1 Biologically derived material
Biologically derived material - Recombinantly produced material
Cell type
Growth/harvest conditions. Other modifications.
Biologically derived material - Biological origin of Material
Origin (biological fluid, tissue, etc)
Species
Describe treatments and/or storage conditions
Glycoprotein
Biologically derived material - Purchased from commercial manufacturer
Vendor and applicable item information
1.2 Chemically derived material
Synthesis steps or specify where the equivalent reaction protocol is available.
Description of starting material
2. Sample Processing
2.1 Sample Processing – Isolation
Enzymatic treatments
Enzymes used for oligosaccharide removal or modification of starting material
Describe vendor or expression and purification procedure
Sample material treated in-solution or immobilized? State also temperature, duration, volume, enzyme concentration
Chemical treatments
Define the technique for oligosaccharide release or other chemical modifications.
Reaction conditions (temperature, duration, volume and chemical concentrations).
2.2 Sample Processing – Modification
Enzymatic modifications
Describe any treatments made to the isolated material.
Enzyme concentration, supplier, biological source, incubation time and temperature.
If novel glycosidase was used, provide information indicating the origin (i.e. species) of the enzyme.
Chemical modifications
Describe any treatments made to the isolated material.
Explain the type of modification employed
Source of materials, description of kits used, reaction conditions and detailed workflow
2.2 Sample Processing – Purification
Purification steps
3. Defined Sample
| Sample name | N-linked oligosaccharides
Note on B8: The date on which the work described was completed; given in the standard ‘YYYY-MM-DD’ format (with hyphens).
Note on B9: The (stable) primary contact person for this data set; this could be the experimenter, lab head, line manager etc. Where responsibility rests with an institutional role (e.g., one of a number of duty officers) rather than a person, give the official name of the role rather than any one person.
Note on B14: Describe how original starting sample material was generated or where it was obtained. Starting material descriptions are further delineated by biologically or chemically derived material.
Note on B17: (e.g. CHO, HEK, NS0 etc.)
Note on B18: growth/harvest conditions should be specified. Any modifications to cells that influence the characteristics of the starting material (e.g. genetic manipulations) should also be stated.
Note on B23: Uniprot Id ex. PQ2771
Note on B27: If samples were synthetically derived, provide information
Note on B28: Define the type of starting material used or produced that contains the oligosaccharide to be used/analysed in subsequent experiments. These may include glycoprotein(s), proteoglycan, glycolipid, GPI-anchored, free-oligosaccharides, sugar-nucleotides or synthetically derived material but are not limited to these definitions
Note on B30: Processing may include methods to remove the oligosaccharide from the starting material prior to downstream experiments or conversely the starting material may also be altered so the oligosaccharide remains conjugated to non-carbohydrate material such as chemical (e.g. linker) or biological (e.g. peptides) components.
Note on B32: Describe any enzymes used to for the purpose of oligosaccharide removal (e.g. PNGase F) or for modification of the starting material (e.g. trypsin protease).
Note on B33: Specify where it was obtained (vendor) or for enzymes produced in-house, describe expression and purification procedure.
Note on B34: State if sample material was treated in-solution or immobilized (SDS-PAGE, PVDF etc.) as well as temperature, duration, volume, enzyme concentration.
Note on B36: E.g. (hydrazinolysis, β-elimination etc.)
Note on B45: (e.g. hydrolysis, sample tagging (including fluorescent labels), isotopic labelling, permethylation/peracetylation, etc.).
Note on B48: Specify all steps used to purify starting material after isolation/modification steps. Examples of procedures include solid phase extraction (SPE), liquid-liquid extraction or other chromatographic methods. For each method describe the all experimental materials (e.g. stationary phase) and methods (e.g. flow rates, fractionation etc.).
Note on B50: Name or specify the type of sample material to be analysed or used in other experiments. These may include but are not limited to glycoconjugates, glycosaminoglycans, N- or O-glycans, glycopeptides, glycolipids, monosaccharides, poly- and oligosaccharides

## LC-PartOfMS
LC-MS Settings
For uploading of data to UniCarb-DB
Please provide the information below.
Required fields are marked with an * (If the field is not relevant for the experiment, it can be filled in with a 'NA' -Not applicable).
General features — (a) Global descriptors
* | Date stamp | 2020-04-08
* | Responsible person. Provide name, | JK
* | Affiliation | NA
* | Stable contact information | localhost
1. HPLC
| HPLC manufacturer | Waters
| HPLC brand | 1100 Series
Injector
Injector settings
2. Method run
Temperature
* | Solvent a | A
* | Solvent b | B
Other solvent
* | Flow rate | Ax+B
Flow gradient
Run time
* | Phase | Reverse
3. Column
Manufacturer
Model
Type of chromatography
Type of material
Column diameter
Column length
Particle size
Note on B8: The date on which the work described was completed; given in the standard ‘YYYY-MM-DD’ format (with hyphens).
Note on B9: The (stable) primary contact person for this data set; this could be the experimenter, lab head, line manager etc. Where responsibility rests with an institutional role (e.g., one of a number of duty officers) rather than a person, give the official name of the role rather than any one person.

## MIRAGE-MS
MIRAGE MS Guidelines
Guidelines for reporting mass spectrometric analysis data of glycans
Provide the information below. When more than one element has to be reported (e.g. Software or files), please continue in the adjacent columns.
Required fields are marked with an * (If the field is not relevant for the experiment, it can be filled in with a 'NA' -Not applicable).
1. General features
1. General features — (a) Global descriptors
* | Date stamp | 2020-04-08
* | Responsible person. Provide name, | JK
* | Affiliation | NA
* | Stable contact information | localhost
Instrument manufacturer
Instrument model
Customizations
| Ion mode | Positive
1. General features — (b) Control and analysis software
Software name
Version
Manufacturer
Availability
Upgrades not reflected in version number
Switching criteria (tandem only)
Isolation width (global, or by MS level)
Location of ‘parameters’ file
2. Ion sources
2. Ion sources — (a) Electrospray Ionisation (ESI)
* | Supply type (static, or fed) | Fed
Interface name
Catalog number, vendor, and any modifications made to the standard specification.
* | Sprayer name | nanoelectrospray
Sprayer type, coating, manufacturer, model and catalog number (where available)
Relevant voltages where appropriate (tip, cone, acceleration)
| Degree of prompt fragmentation evaluated | Yes
| Whether in-source dissociation performed | Yes
Other parameters if discriminant for the experiment (such as nebulizing gas and pressure )
2. Ion sources — (b) MALDI
* | Plate composition (or type) | NA
* | Matrix composition (if applicable) | NA
* | Deposition technique | NA
* | Relevant voltages where appropriate | NA
| Degree of prompt fragmentation evaluated | NA
| PSD (or LID/ISD) summary, if performed | NA
* | Operation with or without delayed extraction | NA
* | Laser type (e.g., nitrogen) and wavelength (nm) | NA
| Other laser related parameters, if discriminating for the experiment | NA
3. Ion transfer optics
Hardware options
3. Post-source componentry — (a) Collision cell
Collision-Induced Dissociation (CID)
* | Gas composition | ?
Gas pressure
* | Collision energy CID/function | Thermo-Fisher nCE
Electron Transfer Dissociation (ETD)
| Reagent gas | NA
| Pressure | NA
| Reaction time | NA
| Number of reagent atoms | NA
Electron Capture Dissociation (ECD)
* | Emitter type | NA
| Voltage | NA
| Current | NA
3. Post-source componentry — (b) TOF drift tube
* | Reflectron status (on, off, none) | NA
3. Post-source componentry — (c) Ion trap
| Final MS stage achieved | NA
3. Post-source componentry – (d) Ion mobility
* | Gas | NA
| Pressure | NA
| Instrument-specific parameters | NA
3. Post-source componentry — (e) FT-ICR
| Peak selection | NA
| Pulse | NA
| Width | NA
| Voltage | NA
| Decay time | NA
| IR | NA
| Other parameters | NA
3. Post-source componentry — (f) Detectors
| Detector type | inductive detector
4. Spectrum and peak list generation and annotation
For this section, if software other than that listed in 1b (Control and analysis software) is used to perform a task, it must be supplied in each case.
| Software name | Xcalibur | Compass
Version
| Manufacturer | Thermo Finnigan | Bruker
| Availability | Propietary | Propietary
4. Spectrum and peak list generation and annotation — (a) Spectrum description
Location of source (‘raw’) files
| Name | Foo
| Format | Thermo RAW format
Identifying information for the target area
URL
4. Peak list generation and annotation — (b) Peak list generation
Since several different applications may be used for the data acquisition, data post processing and spectrum annotation each used software should be recorded separately together with the information what modification has been done to the data.
| Software name | Xcalibur
Version
| Manufacturer | Thermo Finnigan
| Availability | Propietary
Customizations made to the software
Software settings
Data file
Name
Format
URL
| Acquisition number (from the ‘raw’ file) for all acquisitions combined in the peak list, total number and whether summed or averaged. | 1
| Parameters triggering the generation of peak lists from raw data, where appropriate | 2
| Raw data scoring | 3
| Smoothing; whether applied, parameters | 4
| Background threshold, or algorithm used | 5
| Signal-to-noise estimation and method | 6
| Percentage peak height for centroiding; or algorithm used, if appropriate | 7
| Retention times for all acquisitions combined in the peak list | 8
| m/z and intensity values | 9
4. Peak list generation and annotation — (c) Annotation and scoring
Since several different applications may be used for the data acquisition, data post processing and spectrum annotation each used software should be recorded separately together with the information what modification has been done to the data.
| Software name | GlycoWorkBench
Version
| Manufacturer | Thermo Finnigan
| Availability | Propietary
Software type
Customizations made to the software
Software settings
Data file generated by the software
Name
Format
URI
Database matching
Database settings
| Database queried | GlyToucan
Taxonomical restrictions
Other restrictions
Allowed cleavages
Mass accuracy
Parent error
Fragment error
| Scoring method | Dart Throwing
Scoring value format
| Scoring algorithm | Fiat
Scoring result
Validation
Validation status
Validation value format
Validation result
Validation level
Note on B9: The date on which the work described was completed; given in the standard ‘YYYY-MM-DD’ format (with hyphens).
Note on B10: The (stable) primary contact person for this data set; this could be the experimenter, lab head, line manager etc. Where responsibility rests with an institutional role (e.g., one of a number of duty officers) rather than a person, give the official name of the role rather than any one person.
Note on B13: The manufacturing company name for the mass spectrometer.
Note on B14: The model name for the mass spectrometer.
Note on B15: Any significant (i.e., affecting behaviour) deviations from the manufacturer’s specification for the mass spectrometer.
Note on B18: The instrument management and data analysis package name
Note on B21: (e.g. open source, commercial)
Note on B23: The list of conditions that cause the switch from survey or zoom mode (MS^1) to or tandem mode (MS^n where n > 1); e.g., ‘parent ion’ mass lists, neutral loss criteria and so on.
Note on B24: For tandem instruments (i.e., multi-stage instruments such as triple quads and TOF-TOFs, plus ion traps and equivalents) the total width (i.e., not half for plus-or-minus) of the gate applied around a selected precursor ion m/z, provided for all levels or by MS level.
Note on B25: The location and name under which the mass spectrometer’s parameter settings file for the run is stored, if available. Ideally this should be a URI including filename, or most preferably an LSID, where feasible. Location of file should be mentioned.
Note on B28: Whether the sprayer is fed (by, for example, chromatography or CE) or is loaded with sample once (before spraying).
Note on B30: Where the interface was bought from, plus its catalog number; list any modifications made to the standard specification. If the interface is entirely custom-built, describe it or provide a reference if available.
Note on B32: Where the sprayer was bought from, plus its catalog number; list any modifications made to the standard specification. If the sprayer is entirely custom-built, describe it briefly or provide a reference if available
Note on B33: Voltages that are considered as discriminating from an understood standard measurement mode, or important for the interpretation of the data. These might include the voltage applied to the sprayer tip, the voltage applied to the sampling cone, the voltage used to accelerate the ions into the rest of the mass spectrometer (mass analysis + detection) by MS level.
Note on B34: Yes/No. If yes, provide data showing results.
Note on B35: State whether in-source dissociation was performed (increased voltage between sample orifice and first skimmer).
Note on B36: Where appropriate, and if considered as discriminating elements of the source parameters, describe these values.
Note on B38: The material of which the target plate is made (usually stainless steel, or coated glass); if the plate has a special construction then that should be briefly described and catalogue and lot numbers given where available
Note on B39: The material in which the sample is embedded on the target (e.g., 2,5-dihydroxybenzoic acid (DHB)).
Note on B40: The method of laying down (matrix and) sample on the target plate (including matrix concentration and solvents applied); for example, matrix+sample in single deposition; or matrix, then matrix+sample (if several matrix substances are used, name each), Recrystallization using volatile solvent; where chromatographic eluent is directly applied to the plate by apparatus, or for other approaches, describe the process and instrumentation involved very briefly and cross-reference.
Note on B41: Voltages considered as relevant for the interpretation of the data. This might include the grid voltage (applied to the grid that sits just in front of the target), the acceleration voltage (used to accelerate the ions into the analyzer part of the mass spectrometer (mass analysis + detection), etc.
Note on B42: Yes/No. If yes, provide data showing results
Note on B43: Confirm whether post-source decay, laser-induced decomposition, or in-source dissociation was performed; if so provide a brief description of the process (for example, summarize the stepwise reduction of reflector voltage).
Note on B44: State whether a delay between laser shot and ion acceleration is employed.
Note on B45: The type of laser and the wavelength of the generated pulse (in nanometers).
Note on B46: Other details of the laser used to irradiate the matrix-embedded sample if considered as important for the interpretation of data; this might include the pulse energy in microJoules, focus diameter in microns, attenuation details, pulse duration in nanoseconds at full-width half maximum, frequency of shots in Hertz and average number of shots fired to generate each combined mass spectrum.
Note on B48: e.g. ‘simple’ quadrupoles, hexapoles, stacked ring electrodes, TOF, ...
Note on B51: The composition of the gas used to fragment ions in the collision cell (TOF-TOF, linear trap, Paul trap, or FT- ICR cell).
Note on B52: The pressure of the gas used to fragment ions in the collision cell.
Note on B53: The specifics for the process of imparting a particular impetus to ions with a given m/z value, as they travel into the collision cell for fragmentation. This could be a global figure (e.g., for tandem TOFs), or a complex function; for example a gradient (stepped or continuous) of m/z values (for quads) or activation frequencies (for traps) with associated collision energies (given in eV).
Note on B64: Whether a Reflectron is present, and if so, whether it is used. Depending on the type of instrument provide exact details on the reflectron mode (e.g. V or W mode).
Note on B66: The final MS level achieved in generating this data set with an ion trap or equivalent (e.g., MS^10).
Note on B67: gas, pressure, instrument-specific parameters e.g. wave velocity/height depending on the particular vendor's options for tuning this component
Note on B71: Peak selection, pulse width, voltage, decay time, IR ... other important experiment parameters.
Note on B80: Needs defintion if non OEM detector were used (e.g. microchannel plate, channeltron etc.)
Note on B86: (e.g. open source, commercial)
Note on B88: The location and filename under which the original raw data file from the mass spectrometer is stored, if available. Also give the type of the file where appropriate, or else a description of the software or reference resource used to generate it. Ideally this should be a URI or filename, or most preferably an LSID, where feasible. Due to the nature of the raw files (proprietary formats, no open source software, licensing, etc), the validation of raw data can only be possible if the information is provided in an open XML format (mzXML, mzData, mzML)
Note on B91: Either a spot number, or some other form of coordinates if more appropriate, that link the spectrum to the analzsed area of the sample (2D imaging).
Note on B98: (e.g. open source, commercial)
Note on B99: Any changes made to the original program code that may affect the results
Note on B100: Any settings made in the software that may affect the results (e.g. thresholds). For the annotation software this parameters are recorded in the Annotation parameter section.
Note on B101: Information about the produced data file.
Note on B105: Where available, the reference numbers of all the scans (as numbered in the raw file) that were combined to produce a peak list, the total number of acquisitions combined to produce the peak list, and whether the peak list was produced by summing or averaging the scans that are listed.
Note on B106: The total ion count or S/N threshold for a spectrum and the minimum number of ions detected in that scan, for it to be a candidate for grouping in a peak list; plus the mass tolerance (Da) on the precursor ion masses for MS/MS spectra.
Note on B107: Describe methode and software for selection of peaks for inclusion in the peaklist
Note on B108: Any peak smoothing should be described, along with the parameters supplied to the algorithm
Note on B109: The intensity or S/N cut-off used to filter background noise; or a description of the algorithm used to gate the noise, if complex
Note on B110: The ratio of signal to noise for each significant peak in a peak list; significance is defined as being above a given intensity (which should be supplied) or being otherwise of interest; the method of calculation should also be named (if available).
Note on B111: The percentage peak height at which centroids are calculated; if a more complex algorithm is used to perform the process, it should be named here
Note on B112: The times relative to the start of the MS run for all acquisitions that were combined in the peak list so that those acquisitions may later be correlated to a chromatogram (continuously-fed electrospray sources only).
Note on B113: The actual data (m/z versus intensity); as described in the preceding sections.
Note on B119: (e.g. open source, commercial)
Note on B120: Type of data processing that was performed with the software.
Note on B121: Any changes made to the original program code that may affect the results.
Note on B122: Any settings made in the software that may affect the results (e.g. thresholds). For the annotation software this parameters are recorded in the Annotation parameter section.
Note on B123: Information about the annotation data file. This includes the file format and if applicable the URI to access the file.
Note on B129: List of databases used for the annotation of the data. Also specify databases version, annotation date and number of entries. Use comma to separate the values.
Note on B130: List of species the search was limited to.
Note on B131: Other settings to the software that filtered out certain sequences from the database (e.g. allow only certain glycan types (N-Glycan) or restriction by composition). This also includes the usage of threshold for scoring values.
Note on B132: List of allowed cleavages for the annotation run (A,B,C,X,Y,Z). This includes also the number of allowed cross-ring cleavages and glycosidic cleavages
Note on B133: Mass accuracy settings for the annotation run.
Note on B138: Used scoring function with references to the algorithm and of software
Note on B142: Describe the type of method used to validate the results

## MIRAGE-MSn
MIRAGE MS Guidelines
Guidelines for reporting mass spectrometric analysis data of glycans
The following lines have to be repeated for each identified feature in the mass spectrum.
[8 empty] | Database matching | [10 empty] | Validation
Scan number | MS level | Prec m/z and charge | Stability | Accession code | Structure | Orthogonal approaches | Quantity | Database queried | Taxonomical restrictions | Other restrictions | Allowed cleavages | Mass accuracy | Parent error | Fragment error | Scoring method | Scoring value format | Scoring algorithm | Scoring result | Validation status | Validation value format | Validation result
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
[8 empty] | GlyToucan | [5 empty] | Dart Throwing |  | Fiat
Note on B8: The MS level (e.g., MS^2) at which this spectrum was acquired.
Note on C8: For tandem spectra only; the precursor m/z value and the charge state of the precursor ion should be given
Note on D8: The whole spectra generated before precursor isolation and that after precursor ion isolation prior to dissociation.
Note on E8: Glycan identifier in the queried database(s).
Note on F8: Description of the structural features supported by the data including provenance
Note on G8: Other additional information used for evaluation of confidence. This may include the use of retention time, exoglycosidase treatment, reference/internal database/standard etc (e.g. permethylation -> particular fragmentation pattern, PGC-specific retention time patterns,...).
Note on H8: Absolute or relative quantification based on signal intensity or spectral counts. Were internal standards used
Note on I8: List of databases used for the annotation of the data. Also specify databases version, annotation date and number of entries. Use comma to separate the values.
Note on J8: List of species the search was limited to.
Note on K8: Other settings to the software that filtered out certain sequences from the database (e.g. allow only certain glycan types (N-Glycan) or restriction by composition). This also includes the usage of threshold for scoring values.
Note on L8: List of allowed cleavages for the annotation run (A,B,C,X,Y,Z). This includes also the number of allowed cross-ring cleavages and glycosidic cleavages
Note on P8: Method used to calculate the score
Note on R8: Used scoring function with a references to the algorithm and of software
Note on S8: Catherine_2:Score, Scoring type and scoring level, comma separated.